## VG2
VG2 | SiO2 | TiO2 | Al2O3 | FeO | MnO | MgO | CaO | Na2O | K2O | P2O5 | SO3 | Cl | Total | Date
USNM | 50.81 | 1.85 | 14.06 | 11.84 | 0.22 | 6.71 | 11.12 | 2.62 | 0.19 | 0.2 | 0.36205 | 0.03 | 100.0121
GEOREM_min | 49.51 | 1.78 | 12.5 | 11.56 | 0.12 | 4.88 | 9.26 | 2.56 | 0.12 | 0.15 | 0.03 | 0
GEOREM_max | 51.5 | 4.13 | 14.21 | 13.33 | 0.3 | 7.12 | 11.38 | 2.91 | 0.85 | 0.46 | 0.37 | 0.05
mean | 49.96 | 1.921 | 13.4397 | 11.8367 | 0.223 | 6.6893 | 11.004 | 2.728 | 0.197 | 0.222 | 0.36333 | 0 | 98.584 | 2022-08-11
std | 0.28532 | 0.018089 | 0.098294 | 0.083732 | 0.01169 | 0.048155 | 0.062988 | 0.028925 | 0.007303 | 0.010165 | 0.01291
c/REM | 0.98327 | 1.0384 | 0.95588 | 0.99972 | 1.0136 | 0.99692 | 0.98957 | 1.0412 | 1.0368 | 1.11 | 1.0035
rel% | -1.6729 | 3.8378 | -4.412 | -0.028153 | 1.3636 | -0.308 | -1.0432 | 4.1221 | 3.6842 | 11 | 0.35432
mean | 49.9981 | 1.9225 | 13.4331 | 11.8506 | 0.22312 | 6.6944 | 10.9712 | 2.6875 | 0.20625 | 0.21438 | 0.36875 | 0.00375 | 98.5737 | 2022-11-19
std | 0.31946 | 0.026443 | 0.13063 | 0.042738 | 0.028284 | 0.091961 | 0.039418 | 0.039109 | 0.021034 | 0.043485 | 0.04295 | 0.017321
c/REM | 0.98402 | 1.0392 | 0.95541 | 1.0009 | 1.0142 | 0.99767 | 0.98662 | 1.0258 | 1.0855 | 1.0719 | 1.0185 | 0.125
rel% | -1.5979 | 3.9189 | -4.4586 | 0.089738 | 1.4205 | -0.23286 | -1.3377 | 2.5763 | 8.5526 | 7.1875 | 1.8504 | -87.5
mean | 50.133 | 1.9143 | 13.437 | 11.7953 | 0.213 | 6.7197 | 11.0043 | 2.7097 | 0.198 | 0.18667 | 0.36433 | 0 | 98.6753 | 2022-12-26
std | 0.255 | 0.036815 | 0.10183 | 0.077275 | 0.045178 | 0.065887 | 0.068752 | 0.057678 | 0.016903 | 0.079237 | 0.026693
c/REM | 0.98668 | 1.0348 | 0.95569 | 0.99623 | 0.96818 | 1.0014 | 0.9896 | 1.0342 | 1.0421 | 0.93333 | 1.0063
rel% | -1.3324 | 3.4775 | -4.431 | -0.37725 | -3.1818 | 0.14406 | -1.0402 | 3.4224 | 4.2105 | -6.6667 | 0.63053
std_m | 0.15 | 0.075 | 0.076 | 0.09 | 0.039 | 0.067 | 0.056 | 0.096 | 0.024 | 0.046 | 0.05 | 0.02
mean | average of measured values within the session
std | 1-sigma standard deviation of the measured values within the session
c/REM | average concentration (ave) to USNM reference value in wt. %
rel% | c/REM in relative %
USNM | reference values provided by USNM
GEOREM_min | minimum concentration in GEOREM database
GEOREM_max | maximum concentration in GEOREM database
std_m | 1-sigma standard deviation of individual element measurement

## VG568
VG568 | SiO2 | TiO2 | Al2O3 | FeO | MnO | MgO | CaO | Na2O | K2O | P2O5 | SO3 | Cl | Total | Date
USNM | 76.71 | 0.12 | 12.06 | 1.23 | 0.03 | bdl | 0.5 | 3.75 | 4.89 | bdl | bdl | 0.13 | 99.42
GEOREM_min | 75.83 | 0 | 11.71 | 0.89 | 0 |  | 0.36 | 2.5 | 4.63 |  |  | 0.09
GEOREM_max | 78.86 | 0.196 | 12.8 | 1.31 | 0.1 |  | 0.52 | 4.19 | 5.17 |  |  | 0.14
ave | 77.1856 | 0.042222 | 11.8944 | 1.1478 | 0 | 0 | 0.465 | 3.7889 | 4.9028 | 0 | 0 | 0.10833 | 99.535 | 2022-08-11
std | 0.83965 | 0.03625 | 0.16852 | 0.055844 |  |  | 0.011304 | 0.086761 | 0.045039 |  |  | 0.017607
c/REM | 1.0062 | 0.35185 | 0.98627 | 0.93315 |  |  | 0.93 | 1.0104 | 1.0026 |  |  | 0.83333
rel% | 0.61994 | -64.8148 | -1.3728 | -6.6847 |  |  | -7 | 1.037 | 0.2613 |  |  | -16.6667
ave | 77.6032 | 0.016111 | 12.0182 | 1.1468 | 0 | 0 | 0.46778 | 3.6537 | 4.9186 | 0 | 0 | 0.11375 | 99.9382 | 2022-11-19
std | 0.27735 | 0.055401 | 0.066158 | 0.052465 |  |  | 0.034306 | 0.16029 | 0.041138 |  |  | 0.015566
c/REM | 1.0116 | 0.13426 | 0.99653 | 0.93236 |  |  | 0.93556 | 0.97433 | 1.0059 |  |  | 0.875
rel% | 1.1644 | -86.5741 | -0.34665 | -6.7638 |  |  | -6.4444 | -2.5667 | 0.58509 |  |  | -12.5
ave | 76.7553 | 0.046 | 11.859 | 1.1457 | 0 | 0 | 0.47433 | 3.459 | 4.8907 | 0 | 0 | 0.10467 | 98.7347 | 2022-12-26
std | 0.54827 | 0.065629 | 0.099418 | 0.054363 |  |  | 0.015059 | 0.083227 | 0.023905 |  |  | 0.01069
c/REM | 1.0006 | 0.38333 | 0.98333 | 0.93144 |  |  | 0.94867 | 0.9224 | 1.0001 |  |  | 0.80513
rel% | 0.059097 | -61.6667 | -1.6667 | -6.8564 |  |  | -5.1333 | -7.76 | 0.013633 |  |  | -19.4872
Std Aztec | 0.171 | 0.05 | 0.076 | 0.051 | 0.039 | 0.033 | 0.028 | 0.096 | 0.036 | 0.046 | 0.05 | 0.02
ave | average of measured values within the session
std | standard deviation of the measured valuies within the session
c/REM | average concentration (ave) to USNM reference value in wt. %
rel% | c/REM in relative %
USNM | reference values provided by USNM
GEOREM_min | minimum concentration in GEOREM database
GEOREM_max | maximum concentration in GEOREM database
Std Aztec | Point counting standard deviation (by Aztec)